## DOC RESULTS_Baetge
Determination of dissolved organic carbon (DOC) and total dissolved nitrogen (TDN) using High Temperature Combustion Analysis
Carlson DOM lab (UCSB)
This tab provides a summary of your data with details of each individual run, and includes information on internal checks such as standards and reference materials. Please note that this data has been quality control checked by a DOM technician as well as the Lab Manager. All runs have passed system specifications, indicating the TOC instrument was analytically performing and data provided is good quality. The submitting researcher is ultimately responsible for final QC of dataset and assessing quality of sampling.If you have any questions, please contact us at dom.analysis@gmail.com
Carlson Lab Method: | https://repository.oceanbestpractices.org/handle/11329/1921
Project: | DOC ANALYSIS - OSU
Submitting researcher: | N.BAETGE
Contact (email): | baetgen@oregonstate.edu
Invoice remittance/contact: | baetgen@oregonstate.edu
Total #Runs | 8
Total #Samples | 288
Date e-mailed&Initials: | 11.13.23 EH
QA/QC
| RUN1 |  |  | RUN2 |  |  | RUN3 |  |  | RUN4 |  |  | RUN5 |  |  | RUN6 |  |  | RUN7 |  |  | RUN8
Nanopure blank[UMOL C/L]: | 1.97 |  |  | 2.09 |  |  | 2.07 |  |  | 2.58 |  |  | 2.37 |  |  | 2.22 |  |  | 2.04 |  |  | 2.18
STANDARDS [GLUCOSE] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L] | Actual [UMOL C/L] | Measured [UMOL C/L] | STDEV [UMOL C/L]
Standard 1 | 25.0946 | 25.4101 | 0.16833 | 25.0946 | 25.5752 | 0.2877 | 25.0946 | 24.7847 | 0.33349 | 25.0946 | 24.5603 | 0.46932 | 25.0946 | 24.3217 | 0.3952 | 25.0946 | 24.832 | 0.43144 | 25.0946 | 25.977 | 0.60648 | 25.0946 | 25.3273 | 0.57221
Standard 2 | 50.2395 | 49.9932 | 0.38761 | 50.2395 | 50.5631 | 0.65972 | 50.2395 | 50.1272 | 0.66746 | 50.2395 | 50.6083 | 0.35529 | 50.2395 | 49.2566 | 0.81643 | 50.2395 | 50.3156 | 0.38944 | 50.2395 | 50.275 | 0.34044 | 50.2395 | 51.1638 | 0.35454
Standard 3 | 75.1498 | 75.0524 | 0.4748 | 75.1498 | 74.5346 | 1.1119 | 75.1498 | 76.274 | 1.0374 | 75.1498 | 76.7045 | 0.7869 | 75.1498 | 73.6242 | 0.71323 | 75.1498 | 74.8522 | 1.0349 | 75.1498 | 76.1113 | 0.32 | 75.1498 | 76.8116 | 0.456
Standard 4 | 99.8166 | 100.025 | 1.0217 | 99.8166 | 100.3669 | 0.97953 | 99.8166 | 99.9529 | 0.36697 | 99.8166 | 101.6853 | 0.49342 | 99.8166 | 99.3485 | 0.37383 | 99.8166 | 99.1894 | 1.3085 | 99.8166 | 99.5255 | 0.70446 | 99.8166 | 100.3336 | 0.99094
REFERENCES [SEAWATER] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L] | Calibrated [UMOL C/L] | AVE [UMOL C/L] | STDEV [UMOL C/L]
Reference 1 | 75.8 | 75.6361 | 1.339 | 75.8 | 75.9263 | 0.31402 | 75.8 | 75.611 | 1.0696 | 75.8 | 75.7051 | 1.6567 | 75.8 | 74.931 | 0.68195 | 75.8 | 75.9355 | 1.3572 | 75.8 | 75.1489 | 0.64237 | 75.8 | 74.5531 | 5.9417
Reference 2 | 61.9 | 61.5819 | 0.93386 | 61.9 | 62.0963 | 1.0853 | 61.9 | 61.0343 | 0.64378 | 61.9 | 61.3442 | 1.4243 | 61.9 | 61.2853 | 1.8005 | 61.9 | 60.8114 | 1.164 | 61.9 | 61.3817 | 0.84421 | 61.9 | 61.2188 | 0.40646
Reference 3 | 47.7 | 48.2648 | 1.0303 | 47.7 | 46.5934 | 0.10009 | 47.7 | 47.2685 | 0.50445 | 47.7 | 47.1804 | 0.60059 | 47.7 | 63.6589 | 3.5862 | 47.7 | 46.7798 | 0.24683 | 47.7 | 48.0437 | 0.094294 | 47.7 | 47.9452 | 0.20235
Results
sample_id (EXP_BOTTLE_TP) | Sample ID | [UMOL C/L] | STDEV [UMOL C/L]
B1-1-0 | NB20230824_1 | 69.1717 | 0.42478
B1-1-0 | NB20230824_2 | 67.496 | 0.31074
B1-1-0 | NB20230824_3 | 68.7543 | 0.13161
B1-1-1 | NB20230824_4 | 67.7928 | 0.25475
B1-1-1 | NB20230824_5 | 68.8502 | 0.6536
B1-1-1 | NB20230824_6 | 67.9721 | 1.1715
B1-1-2 | NB20230824_7 | 68.4977 | 0.45538
B1-1-2 | NB20230824_8 | 68.6214 | 1.3191
B1-1-2 | NB20230824_9 | 67.8051 | 0.77654
B1-1-3 | NB20230824_10 | 66.522 | 1.1875
B1-1-3 | NB20230824_11 | 68.2133 | 0.79882
B1-1-3 | NB20230824_12 | 66.5746 | 1.2002
B1-1-4 | NB20230824_13 | 66.0119 | 0.95561
B1-1-4 | NB20230824_14 | 67.4218 | 0.81394
B1-1-4 | NB20230824_15 | 66.655 | 0.73744
B1-1-5 | NB20230824_16 | 65.9964 | 0.33865
B1-1-5 | NB20230824_17 | 66.655 | 0.53146
B1-1-5 | NB20230824_18 | 66.8931 | 0.51295
B1-2-0 | NB20230824_19 | 72.9963 | 1.4869
B1-2-0 | NB20230824_20 | 72.5047 | 1.078
B1-2-0 | NB20230824_21 | 72.7335 | 1.4739
B1-2-1 | NB20230824_22 | 72.8386 | 1.1208
B1-2-1 | NB20230824_23 | 72.6717 | 1.3871
B1-2-1 | NB20230824_24 | 73.1076 | 1.4074
B1-2-2 | NB20230824_25 | 73.3642 | 1.361
B1-2-2 | NB20230824_26 | 71.5648 | 1.2746
B1-2-2 | NB20230824_27 | 73.2436 | 0.29686
B1-2-3 | NB20230824_28 | 69.9169 | 0.65878
B1-2-3 | NB20230824_29 | 69.7839 | 0.62058
B1-2-3 | NB20230824_30 | 69.4654 | 0.6579
B1-2-4 | NB20230824_31 | 70.3002 | 1.0046
B1-2-4 | NB20230824_32 | 68.8904 | 0.44638
B1-2-4 | NB20230824_33 | 68.7883 | 1.1038
B1-2-5 | NB20230824_34 | 68.5441 | 0.61647
B1-2-5 | NB20230824_35 | 68.4544 | 1.1764
B1-2-5 | NB20230824_36 | 68.439 | 0.88528
B2-1-0 | NB20230824_37 | 65.7935 | 0.9173
B2-1-0 | NB20230824_38 | 68.5581 | 0.97581
B2-1-0 | NB20230824_39 | 66.4065 | 0.88374
B2-1-1 | NB20230824_40 | 65.584 | 0.51682
B2-1-1 | NB20230824_41 | 65.7028 | 1.0483
B2-1-1 | NB20230824_42 | 66.322 | 0.78929
B2-1-2 | NB20230824_43 | 65.2056 | 0.7513
B2-1-2 | NB20230824_44 | 65.0492 | 0.80732
B2-1-2 | NB20230824_45 | 66.4159 | 1.3287
B2-1-3 | NB20230824_46 | 65.1931 | 0.065675
B2-1-3 | NB20230824_47 | 64.8021 | 0.32151
B2-1-3 | NB20230824_48 | 66.419 | 1.1794
B2-1-4 | NB20230824_49 | 64.7521 | 0.53413
B2-1-4 | NB20230824_50 | 64.3143 | 0.20648
B2-1-4 | NB20230824_51 | 64.702 | 0.87734
B2-1-5 | NB20230824_52 | 64.3361 | 0.3972
B2-1-5 | NB20230824_53 | 64.6176 | 1.2135
B2-1-5 | NB20230824_54 | 63.5543 | 0.88374
B2-2-0 | NB20230824_55 | 69.4401 | 0.62159
B2-2-0 | NB20230824_56 | 69.243 | 0.6218
B2-2-0 | NB20230824_57 | 69.6214 | 0.74167
B2-2-1 | NB20230824_58 | 69.0898 | 0.68832
B2-2-1 | NB20230824_59 | 69.9529 | 1.0224
B2-2-1 | NB20230824_60 | 68.996 | 1.0927
B2-2-2 | NB20230824_61 | 68.0327 | 0.40029
B2-2-2 | NB20230824_62 | 69.2868 | 0.97671
B2-2-2 | NB20230824_63 | 67.795 | 0.32775
B2-2-3 | NB20230824_64 | 66.1625 | 0.63691
B2-2-3 | NB20230824_65 | 67.6731 | 0.79789
B2-2-3 | NB20230824_66 | 68.4424 | 0.91323
B2-2-4 | NB20230824_67 | 67.5918 | 0.23179
B2-2-4 | NB20230824_68 | 67.1664 | 0.97882
B2-2-4 | NB20230824_69 | 67.2947 | 0.98798
B2-2-5 | NB20230824_70 | 66.8725 | 0.12411
B2-2-5 | NB20230824_71 | 67.376 | 0.4492
B2-2-5 | NB20230824_72 | 67.523 | 0.21112
B3-1-0 | NB20230824_73 | 70.7052 | 0.48485
B3-1-0 | NB20230824_74 | 70.7847 | 0.32206
B3-1-0 | NB20230824_75 | 71.6379 | 0.9734
B3-1-1 | NB20230824_76 | 70.9468 | 0.86925
B3-1-1 | NB20230824_77 | 70.8489 | 0.28073
B3-1-1 | NB20230824_78 | 69.9865 | 0.94786
B3-1-2 | NB20230824_79 | 69.9651 | 1.0761
B3-1-2 | NB20230824_80 | 69.17 | 0.083246
B3-1-2 | NB20230824_81 | 70.8336 | 1.3368
B3-1-3 | NB20230824_82 | 69.4391 | 0.88288
B3-1-3 | NB20230824_83 | 69.3199 | 0.34959
B3-1-3 | NB20230824_84 | 69.644 | 0.63165
B3-1-4 | NB20230824_85 | 68.6869 | 0.73561
B3-1-4 | NB20230824_86 | 69.0171 | 1.2397
B3-1-4 | NB20230824_87 | 69.9743 | 1.3353
B3-1-5 | NB20230824_88 | 69.6593 | 1.3473
B3-1-5 | NB20230824_89 | 68.7878 | 0.87618
B3-1-5 | NB20230824_90 | 67.8459 | 0.87259
B3-2-0 | NB20230824_91 | 74.0385 | 0.49654
B3-2-0 | NB20230824_92 | 75.9621 | 0.71513
B3-2-0 | NB20230824_93 | 74.6685 | 1.2411
B3-2-1 | NB20230824_94 | 73.8336 | 0.15103
B3-2-1 | NB20230824_95 | 73.9873 | 1.6824
B3-2-1 | NB20230824_96 | 75.2373 | 0.75942
B3-2-2 | NB20230824_97 | 73.5309 | 0.89133
B3-2-2 | NB20230824_98 | 73.5156 | 1.1422
B3-2-2 | NB20230824_99 | 73.274 | 0.55865
B3-2-3 | NB20230824_100 | 71.7572 | 0.90008
B3-2-3 | NB20230824_101 | 72.43 | 0.17908
B3-2-3 | NB20230824_102 | 72.7297 | 1.4952
B3-2-4 | NB20230824_103 | 71.3994 | 1.1984
B3-2-4 | NB20230824_104 | 72.222 | 1.333
B3-2-4 | NB20230824_105 | 71.9315 | 0.70602
B3-2-5 | NB20230824_106 | 71.3291 | 0.66935
B3-2-5 | NB20230824_107 | 71.9437 | 1.2815
B3-2-5 | NB20230824_108 | 71.5706 | 1.4272
B3-3-0 | NB20230824_109 | 76.1019 | 0.36644
B3-3-0 | NB20230824_110 | 77.1756 | 0.71247
B3-3-0 | NB20230824_111 | 75.9769 | 0.46695
B3-3-1 | NB20230824_112 | 76.4256 | 0.17634
B3-3-1 | NB20230824_113 | 74.7109 | 0.81612
B3-3-1 | NB20230824_114 | 75.166 | 1.3049
B3-3-2 | NB20230824_115 | 74.8231 | 0.69606
B3-3-2 | NB20230824_116 | 73.9481 | 1.5266
B3-3-2 | NB20230824_117 | 74.3551 | 0.92847
B3-3-3 | NB20230824_118 | 72.5282 | 1.3647
B3-3-3 | NB20230824_119 | 71.1692 | 1.1734
B3-3-3 | NB20230824_120 | 74.666 | 1.503
B3-3-4 | NB20230824_121 | 72.3455 | 0.46003
B3-3-4 | NB20230824_122 | 76.3006 | 1.4997
B3-3-4 | NB20230824_123 | 71.916 | 1.2392
B3-3-5 | NB20230824_124 | 71.3103 | 0.44754
B3-3-5 | NB20230824_125 | 71.134 | 0.50989
B3-3-5 | NB20230824_126 | 71.4865 | 0.87179
B3-4-0 | NB20230824_127 | 76.2077 | 0.22598
B3-4-0 | NB20230824_128 | 75.5474 | 1.3871
B3-4-0 | NB20230824_129 | 73.7718 | 1.4518
B3-4-1 | NB20230824_130 | 75.1788 | 0.77548
B3-4-1 | NB20230824_131 | 75.4673 | 0.52861
B3-4-1 | NB20230824_132 | 75.9096 | 1.5613
B3-4-2 | NB20230824_133 | 73.8712 | 1.1681
B3-4-2 | NB20230824_134 | 73.4865 | 0.83462
B3-4-2 | NB20230824_135 | 73.7429 | 0.32098
B3-4-3 | NB20230824_136 | 71.6147 | 0.87055
B3-4-3 | NB20230824_137 | 72.8679 | 1.278
B3-4-3 | NB20230824_138 | 72.3006 | 0.91171
B3-4-4 | NB20230824_139 | 71.1596 | 1.4281
B3-4-4 | NB20230824_140 | 72.1276 | 1.0394
B3-4-4 | NB20230824_141 | 71.4609 | 1.1741
B3-4-5 | NB20230824_142 | 70.9064 | 0.95053
B3-4-5 | NB20230824_143 | 71.9 | 0.81057
B3-4-5 | NB20230824_144 | 70.634 | 1.1741
B14-1-0 | NB20230824_145 | 70.137 | 0.89282
B14-1-0 | NB20230824_146 | 70.396 | 0.76866
B14-1-0 | NB20230824_147 | 68.9006 | 0.68218
B14-1-1 | NB20230824_148 | 68.7495 | 0.80959
B14-1-1 | NB20230824_149 | 70.7691 | 0.70984
B14-1-1 | NB20230824_150 | 70.285 | 0.49159
B14-1-2 | NB20230824_151 | 68.99 | 0.42634
B14-1-2 | NB20230824_152 | 68.7711 | 0.64146
B14-1-2 | NB20230824_153 | 68.8851 | 0.77867
B14-1-3 | NB20230824_154 | 69.0701 | 0.45243
B14-1-3 | NB20230824_155 | 69.6776 | 0.7212
B14-1-3 | NB20230824_156 | 69.3384 | 0.5322
B14-1-4 | NB20230824_157 | 68.5182 | 0.98574
B14-1-4 | NB20230824_158 | 69.3415 | 1.1788
B14-1-4 | NB20230824_159 | 68.7125 | 0.89191
B14-1-5 | NB20230824_160 | 68.3918 | 1.3527
B14-1-5 | NB20230824_161 | 67.9416 | 0.48914
B14-1-5 | NB20230824_162 | 69.4155 | 0.7499
B14-2-0 | NB20230824_163 | 73.6797 | 1.0059
B14-2-0 | NB20230824_164 | 73.5657 | 1.2488
B14-2-0 | NB20230824_165 | 74.4475 | 1.1217
B14-2-1 | NB20230824_166 | 73.9696 | 1.0359
B14-2-1 | NB20230824_167 | 73.171 | 0.94768
B14-2-1 | NB20230824_168 | 74.4752 | 1.1413
B14-2-2 | NB20230824_169 | 73.6767 | 0.82747
B14-2-2 | NB20230824_170 | 73.7137 | 0.84177
B14-2-2 | NB20230824_171 | 73.0877 | 1.4108
B14-2-3 | NB20230824_172 | 71.6447 | 0.35409
B14-2-3 | NB20230824_173 | 72.3015 | 0.84304
B14-2-3 | NB20230824_174 | 73.2203 | 0.58889
B14-2-4 | NB20230824_175 | 72.3292 | 0.75047
B14-2-4 | NB20230824_176 | 71.9808 | 0.86164
B14-2-4 | NB20230824_177 | 70.7537 | 0.51918
B14-2-5 | NB20230824_178 | 70.1154 | 0.186
B14-2-5 | NB20230824_179 | 69.2274 | 0.066916
B14-2-5 | NB20230824_180 | 71.0281 | 0.83255
B14-3-0 | NB20230824_181 | 73.0578 | 1.2222
B14-3-0 | NB20230824_182 | 72.2727 | 0.91634
B14-3-0 | NB20230824_183 | 72.9892 | 0.82597
B14-3-1 | NB20230824_184 | 73.55 | 0.67326
B14-3-1 | NB20230824_185 | 72.7711 | 1.1143
B14-3-1 | NB20230824_186 | 72.1013 | 0.84288
B14-3-2 | NB20230824_187 | 73.0235 | 1.5
B14-3-2 | NB20230824_188 | 71.0577 | 1.0126
B14-3-2 | NB20230824_189 | 71.7773 | 1.2307
B14-3-3 | NB20230824_190 | 69.662 | 1.3794
B14-3-3 | NB20230824_191 | 69.5904 | 1.247
B14-3-3 | NB20230824_192 | 71.4502 | 0.28791
B14-3-4 | NB20230824_193 | 70.9393 | 0.65398
B14-3-4 | NB20230824_194 | 70.9705 | 0.85527
B14-3-4 | NB20230824_195 | 69.6558 | 0.51097
B14-3-5 | NB20230824_196 | 67.7492 | 1.3031
B14-3-5 | NB20230824_197 | 69.553 | 0.40856
B14-3-5 | NB20230824_198 | 69.5187 | 0.36989
B14-4-0 | NB20230824_199 | 73.653 | 0.76407
B14-4-0 | NB20230824_200 | 72.4319 | 0.6526
B14-4-0 | NB20230824_201 | 73.8229 | 1.3177
B14-4-1 | NB20230824_202 | 73.6434 | 0.93632
B14-4-1 | NB20230824_203 | 73.3421 | 1.3766
B14-4-1 | NB20230824_204 | 73.5601 | 1.4964
B14-4-2 | NB20230824_205 | 71.6466 | 1.4697
B14-4-2 | NB20230824_206 | 71.7011 | 0.85843
B14-4-2 | NB20230824_207 | 70.9191 | 1.0663
B14-4-3 | NB20230824_208 | 69.5825 | 0.63875
B14-4-3 | NB20230824_209 | 69.7364 | 0.99346
B14-4-3 | NB20230824_210 | 71.7268 | 1.319
B14-4-4 | NB20230824_211 | 70.3678 | 0.78924
B14-4-4 | NB20230824_212 | 71.855 | 1.2068
B14-4-4 | NB20230824_213 | 70.8005 | 0.22143
B14-4-5 | NB20230824_214 | 69.98 | 0.27489
B14-4-5 | NB20230824_215 | 70.6755 | 0.71156
B14-4-5 | NB20230824_216 | 70.6338 | 0.71551
B15-1-0 | NB20230824_217 | 68.5753 | 0.61552
B15-1-0 | NB20230824_218 | 70.0732 | 1.4175
B15-1-0 | NB20230824_219 | 67.1084 | 0.78158
B15-1-1 | NB20230824_220 | 68.3799 | 0.37354
B15-1-1 | NB20230824_221 | 68.4327 | 1.1162
B15-1-1 | NB20230824_222 | 68.7025 | 1.3778
B15-1-2 | NB20230824_223 | 68.8234 | 0.77964
B15-1-2 | NB20230824_224 | 68.842 | 0.71465
B15-1-2 | NB20230824_225 | 69.5336 | 1.2611
B15-1-3 | NB20230824_226 | 69.2111 | 0.25688
B15-1-3 | NB20230824_227 | 67.9024 | 1.1135
B15-1-3 | NB20230824_228 | 68.5319 | 0.72032
B15-1-4 | NB20230824_229 | 68.6094 | 0.68275
B15-1-4 | NB20230824_230 | 68.4358 | 1.1388
B15-1-4 | NB20230824_231 | 68.8823 | 1.2541
B15-1-5 | NB20230824_232 | 67.6139 | 0.80191
B15-1-5 | NB20230824_233 | 67.9613 | 0.38506
B15-1-5 | NB20230824_234 | 68.352 | 0.48727
B15-2-0 | NB20230824_235 | 72.2999 | 0.93835
B15-2-0 | NB20230824_236 | 73.2395 | 0.24445
B15-2-0 | NB20230824_237 | 73.7574 | 1.0638
B15-2-1 | NB20230824_238 | 73.9032 | 0.31909
B15-2-1 | NB20230824_239 | 72.1262 | 0.68981
B15-2-1 | NB20230824_240 | 73.8164 | 1.2381
B15-2-2 | NB20230824_241 | 72.3278 | 0.32527
B15-2-2 | NB20230824_242 | 72.917 | 1.4953
B15-2-2 | NB20230824_243 | 72.4208 | 0.85681
B15-2-3 | NB20230824_244 | 70.6283 | 1.2641
B15-2-3 | NB20230824_245 | 70.8392 | 0.44056
B15-2-3 | NB20230824_246 | 70.6159 | 0.63819
B15-2-4 | NB20230824_247 | 71.7386 | 0.86499
B15-2-4 | NB20230824_248 | 70.4081 | 0.1936
B15-2-4 | NB20230824_249 | 70.9726 | 0.59093
B15-2-5 | NB20230824_250 | 69.1645 | 1.2964
B15-2-5 | NB20230824_251 | 69.3506 | 0.98717
B15-2-5 | NB20230824_252 | 71.3757 | 1.4603
B16-1-0 | NB20230824_253 | 69.0474 | 1.1708
B16-1-0 | NB20230824_254 | 69.1921 | 0.74057
B16-1-0 | NB20230824_255 | 69.7675 | 1.1853
B16-1-1 | NB20230824_256 | 68.5223 | 1.1633
B16-1-1 | NB20230824_257 | 68.4688 | 0.6844
B16-1-1 | NB20230824_258 | 68.8084 | 1.0403
B16-1-2 | NB20230824_259 | 68.8116 | 1.0287
B16-1-2 | NB20230824_260 | 68.9468 | 0.29113
B16-1-2 | NB20230824_261 | 68.343 | 1.075
B16-1-3 | NB20230824_262 | 69.1166 | 1.1089
B16-1-3 | NB20230824_263 | 69.3839 | 0.4762
B16-1-3 | NB20230824_264 | 67.9782 | 1.3695
B16-1-4 | NB20230824_265 | 67.1512 | 0.31137
B16-1-4 | NB20230824_266 | 67.2675 | 1.0403
B16-1-4 | NB20230824_267 | 69.0002 | 0.96228
B16-1-5 | NB20230824_268 | 67.0569 | 0.056865
B16-1-5 | NB20230824_269 | 67.887 | 0.87763
B16-1-5 | NB20230824_270 | 67.994 | 0.85242
B16-2-0 | NB20230824_271 | 73.2675 | 1.0184
B16-2-0 | NB20230824_272 | 73.4248 | 1.1531
B16-2-0 | NB20230824_273 | 73.0474 | 0.90597
B16-2-1 | NB20230824_274 | 72.126 | 0.83368
B16-2-1 | NB20230824_275 | 73.4845 | 0.85602
B16-2-1 | NB20230824_276 | 72.0914 | 0.63222
B16-2-2 | NB20230824_277 | 71.8713 | 0.50648
B16-2-2 | NB20230824_278 | 71.5977 | 0.62609
B16-2-2 | NB20230824_279 | 71.8808 | 0.82731
B16-2-3 | NB20230824_280 | 71.0852 | 0.098192
B16-2-3 | NB20230824_281 | 70.2392 | 0.47511
B16-2-3 | NB20230824_282 | 70.4216 | 0.71081
B16-2-4 | NB20230824_283 | 69.7455 | 1.3658
B16-2-4 | NB20230824_284 | 70.7109 | 0.63301
B16-2-4 | NB20230824_285 | 70.4531 | 0.99484
B16-2-5 | NB20230824_286 | 71.082 | 0.81214
B16-2-5 | NB20230824_287 | 68.6575 | 0.79363
B16-2-5 | NB20230824_288 | 69.1732 | 0.33558
END//